Power System Analysis

EE2600

Quiz 5

Date: 27-04-2021

Answer all the questions. If required, make suitable assumptions and state those.

Time: 3 hours                                                                                                                      Full marks: 15

Q1.                                                                                                                                                                     3

See the optimization problem presented below.

The values of  are provided in the excel sheet. Find out the optimal solutions of different variables. Please note that there is no need to verify the KKT sufficient condition of optimality. In addition, if you find that your problem does not have any solution satisfying all the constraints, please write 0 for each variable in your response sheet. Please note that the above problem can be solved by simple analytical means without using any numerical technique.

Q2.                                                                                                                                                                   3

Consider the non-linear algebraic equations presented below

The initial solutions of all the variables as well as the values of  are provided. Find out the solutions of different variables after carrying out two Gauss-Seidel iterations. While updating a variable, use solutions only from the previous iteration. Use a deceleration factor of 0.9. Please stick to the same equation arrangement as is shown above. Also keep in mind that the argument of each sine or consine function is expressed in radian.

Q3.                                                                                                                                                                    3

Consider the equations presented below

The initial solutions of all the variables as well as the values of  are provided. Find out the solutions of different variables after carrying out two Newton-Raphson iterations. Do not use any acceleration/deceleration factor. Please do not be worried out the convergence.

Q4.                                                                                                                                                                     3

The cost function data of five generators is given. The network loss is approximately expressed as a quadratic function of generator outputs. The values of the loss parameters are also provided. Find out the optimal generator outputs and the minimum generation cost to serve a load of 2000 MW. Produce the result only after carrying out two Newton-Raphson iterations. Assume that all the upper generation limits are too high and all the generation limits are too low not to bind (or constrain) the solution. Do not use any accelerator/deceleration factor.

Q5.                                                                                                                                                                     3

The bus data and line data of a 6-bus and 9-line system are provided. Produce the solution for bus voltage magnitudes and angles after two fast decoupled load flow iterations. The initial solutions for all the bus voltage angles should be taken as zero. Do not use any acceleration/deceleration factor. Note that although you should do the bus renumbering at the time of doing the load flow calculation, the answer must be produced as per the original (i.e., given in the datasheet) bus numbering sequence. Do not use any acceleration/deceleration factor.

-End-